| Maintenance Index Page | Water Systems | Potable Water System |
| --- | --- | --- |
| References: Delta Single Lever Single Mount Lavatory Faucets (6/19/96) Seaward Owner’s Manual for Electric Heat Exchanger Water Heaters (6/97) Shurflo Potable Water Pump Installation & Operation Manual (1/98) |
| Periodicity | Maintenance Task |
| A-1 | Inspect and commission potable water system. |
| A-2R | Sanitize potable water tanks and piping when commissioning system and when indicated by odor, taste and/or visual inspection. |
| A-3 | Winterize potable water system. |
| Spare Parts – Auxiliary Machinery Compartment |
| RP25 | Delta faucet O-rings |
| RP61 | Delta faucet cam and packing |
| RP70 | Delta faucet ball assembly |
| RP4993 | Delta faucet seats and springs |
| Various | Flair-It ½” tubing and fittings (tee, elbow, end cap, etc.) |
| 0528DP899A | Perko deck fill plug |
| 0513DP8 | Perko deck fill O-rings |
| 73124 | Seaward water heater heating element gasket |
| 73364 | Seaward water heater heating element |
| Various | Shields 1½” and 5/8” ID water tank fill and vent hose |
| 2088-712-344 | Shurflo potable water pump |

| Periodicity Codes |
| --- |
| A – Annually | Q – Quarterly | U – Unscheduled |
| D – Daily | R – Situation Requirement | W – Weekly |
| M - Monthly | S – Semiannually |  |
| Note: When used as a prefix, the number 2 indicates “every 2nd day, week, or year” as appropriate. The situation code “R” may be used alone or with a calendar code, i.e., R-1 or M-1R. The situational periodicity requirement must then be clearly specified on both the MIP and MG. |